## Summary
Description | for claibration | non-calibrated | Total
LCR meter | 1 |  | 1
Clamp meter | 2 | 5 | 7
Oscilloscope | 3 | 3 | 6
Multimeter | 2 | 17 | 19
IR thermometer | 1 |  | 1
Insulation tester | 1 |  | 1
Watt Loss Meter | 1 |  | 1
Power Analyser | 1 | 1 | 2
Micrometer | 1 |  | 1
Vernier | 1 | 3 | 4
Microohm meter | 1 |  | 1
3-P testing zig |  | 1 | 1
Current probe |  | 2 | 2
Data Logger |  | 4 | 4
High AC voltage source |  | 1 | 1
Lux Meter |  | 1 | 1
Reference Meter |  | 1 | 1
Regulated DC power supply |  | 15 | 15
Resistive load bank |  | 1 | 1
Smart tweezer |  | 1 | 1
Solar Meter |  | 1 | 1
Temperature sensor |  | 1 | 1
Temperature Humidity Meter |  | 1 | 1
Sound Level Meter |  | 1 | 1

## For Calibration
S. No. | Back | Instrument | Calibration required | Model | Make | Sr. No. | Calibration date | Calibration due date | Internal number | Responsible person | Remarks |  |  | Price | Verification remarks
1 | Back | LCR meter | yes | PM 6306/071 | Fluke | LR 39486 C | 23.11.2016 | 27.11.2018 |  |  | does not work properly | NAS0000002318 | HDND | 8395 | ok
2 | Back | Clamp meter | yes | Fluke 336 | Fluke | 11620943 | 23.11.2016 | 27.11.2018 | 11 | Manindera Singh | ok | NAS0000000055 | HDND | 17809 | ok
3 |  | Clamp meter | yes | Fluke 336 | Fluke | 81554433 | 23.11.2016 | 27.11.2018 | 13 | Munesh Tripathi | selector cover damaged | NAS0000000055 | HDND | 17809 | ok
4 | Back | Oscilloscope | yes | DL 1640 | Yokogawa | 27E530593 | 26.11.2016 | 29.11.2018 |  | Manindera Singh | ok | NAS0000002314 | HDND | 4554 | ok
5 |  | Oscilloscope | yes | THS720P | Tektronix | B055656 | 26.11.2016 | 2.12.2018 |  | Chandrashekhar Sharma | Probe damaged | NAS0000002314 | HDND | 4554 | ok
6 |  | Oscilloscope | yes | 190-2014 | Fluke | 23472848 | 26.11.2016 | 29.11.2018 |  | Pawan Kumar |  | NAS0000001344 | HDND | 437760 | ok
7 | Back | Multimeter | yes | Fluke 115 | Fluke | 11100995 | 23.11.2016 | 27.11.2018 | 3 | Raghvendra Thakur | with MM probe | NAS0000001404 | ZAST | 8500 | ok
8 |  | Multimeter | yes | U1242B | Agilent | MY51410016 | 23.11.2016 | 27.11.2018 | 10 | Pawan Kumar | ok | NAS0000002440 | HDND | 8277 | ok
9 | Back | IR thermometer | yes | 62 Max | Fluke | 22091371 | 23.11.2016 | 27.11.2018 |  | Shweta Aggarwal |  | NAS0000001345 | HDND | 5300 | ok
10 | Back | Insulation tester | yes | 1507 | Fluke | 22450019 | 23.11.2016 | 27.11.2018 |  | Shweta Aggarwal |  | NAS0000001173 | HDND | 29800 | ok
11 | Back | Power Analyser | yes | WT 333 | Yokogawa | C2RC27021V | 06.12.2016 | 27.11.2018 |  |  |  | NAS0000002182 | ZAST | 368142 | ok
12 | Back | Micrometer | yes | MDC25PJ | Mitutoyo | 45081636 | 23.11.2016 | 14.12.2018 |  | Bharat Kakra |  | NAS0000001251 |  | 8000 | ok
13 | Back | Vernier | yes | 500-196 | Mitutoyo | 14539177 | 23.11.2016 | 14.12.2018 |  | Bharat Kakra |  | NAS0000001250 | ZAST | 6500 | ok
14 | Back | Microohm meter | yes | LR2045-S | Motwane | A0 1800C14 | 23.11.2016 | 23.11.2017 |  |  |  | NAS0000002183 |  | 49800 | ok
|  | Psophometer | yes | 1072 | Aplab | H003TTE1016022 | 28.10.2016 |  |  | Shweta Aggarwal | ok | NAS0000002894 |  | 28750 | ok

## Non-Calibrated
S. No. | Back | Instrument | Calibration required | Model | Make | Sr. No. | Calibration date | Calibration due date | Internal number | Responsible person | Remarks |  |  |  | Verification remarks
2 | Back | Clamp meter | yes | Fluke 336 | Fluke | 85453257 | 31.03.2012 | 30.03.2014 | 6 | Sobhag Prajapat | missed since 2011 | NAS0000000055 | ok | Scrap
6 |  | Clamp meter | yes | Fluke 374 | Fluke | 22950197 | 06.10.2015 | 06.10.2016 | 1 | Umesh Likhitkar | ok | NAS0000001471 | HDND | 12000 | ok
15 |  | Clamp meter | yes | Fluke 336 | Fluke | 86363528 | 01.03.2012 | 01.03.2013 | 12 | Chandrashekhar Sharma | ok | NAS0000001389 | ZAST | Scrap | ok
39 |  | Clamp meter | yes | Fluke 317 | Fluke | 27370008WS |  |  | 2 | Rahul Upadhyay |  | NAS0000001389 | ZAST |  | ok
47 |  | Clamp meter | yes | Fluke 317 | Fluke | 27370006 | 16.10.2014 |  |  |  |  | NAS0000001389 | ZAST |  | ok
16 | Back | Oscilloscope | yes | TPS 2024 | Tektronix | C017750 | 30.10.2015 | 30.10.2016 |  | Raghvendra Thakur | ok | NAS0000002314 | HDND |  | ok
21 |  | Oscilloscope | yes | DL 1620 | Yokogawa | 27E 530592 E | 17.07.09 | 17.01.10 |  | Naveen Purohit | Not working properly | NAS0000002314 | HDND |  | ok
27 |  | Oscilloscope | yes | 54624 A | Agilent | MY40003594 | 28.08.2009 | 28.02.2010 |  | Obsolete | one probe was not damaged | NAS0000002314 | HDND | Scrap | ok
1 | Back | Multimeter | yes | Fluke 111 | Fluke | 86520018 | 08.04.14 | 08.04.15 | 1 | Sobhag Prajapat | one probe is different | NAS0000001123 | ZAST |  | ok
4 |  | Multimeter | yes | Fluke 115 | Fluke | 11171081 | 06.10.2015 | 06.10.2016 | 7 | Deepesh Jain | back support missing | NAS0000001404 | HDND |  | ok
5 |  | Multimeter | yes | Fluke 111 | Fluke | 86520019 | 08.10.14 | 08.10.15 | 2 | Deepak Agrawal | back support missing, black probe is rough and changed | NAS0000001123 | ZAST |  | ok
9 |  | Multimeter | yes | Fluke 19 | Fluke | 76251147 | 06.08.2016 | 06.08.2017 | 5 | Manindera Singh | Cover missing | NAS0000001123 | ZAST |  | ok
10 |  | Multimeter | yes | Fluke 115 | Fluke | 18740133 | 20.01.12 | 20.01.13 | 6 | Umesh Likhitkar | ok | NAS0000001123 | ZAST |  | ok
14 |  | Multimeter | yes | Fluke 111 | Fluke | 85680168 | 06.03.12 | 06.03.13 | 4 | Chandrashekhar Sharma | ok | NAS0000001123 | ZAST |  | ok
20 |  | Multimeter | yes | Fluke 111 | Fluke | 86150078 | 08.04.14 | 08.04.15 | 9 | Naveen Purohit | ok | NAS0000001123 | ZAST |  | ok
22 |  | Multimeter | yes | RISH Multi 14S | Rishabh | 003425 |  |  | 8 | Rahul Upadhyay | ok | NAS0000001123 | ZAST |  | ok
26 |  | Multimeter | yes |  | Meco | 4C-321-300 |  |  | 11 | Obsolete | Red probe damaged | NAS0000001123 | ZAST |  | ok
38 |  | Multimeter | yes | Fluke i410 | Fluke | 84350240 | 29.03.2007 | 29.09.2007 |  | Pawan Kumar |  | NAS0000001123 | ZAST |  | ok
40 |  | Multimeter | yes | Fluke 115 | Fluke | 18740143 | 12.12.2011 | 12.12.2012 | 13 |  |  | NAS0000001123 | ZAST |  | ok
44 |  | Multimeter | yes | Fluke 115 | Fluke | 28780089WS | 24.09.2014 |  | 12 | Shashank Kumar |  | NAS0000001123 | ZAST |  | ok
45 |  | Multimeter | yes | Fluke 115 | Fluke | 28780090WS | 24.09.2014 |  |  |  |  | NAS0000001123 | ZAST |  | ok
54 |  | Multimeter | yes | RISH Multi 14S | Rishabh | 3138 | [5 empty] | NAS0000001570 | ZAST |  | ok
55 |  | Multimeter | yes | RISH Multi 14S | Rishabh | 3142 | [5 empty] | NAS0000001570 | ZAST |  | ok
56 |  | Multimeter | yes | RISH Multi 14S | Rishabh | 3150 | [5 empty] | NAS0000001570 | ZAST |  | ok
57 |  | Multimeter | yes | RISH Multi 14S | Rishabh | 3158 | [5 empty] | NAS0000001570 | ZAST |  | ok
25 | Back | Power analyser | yes | WT 230 | Yokogawa | 27 E 530540 E | 09.02.2015 | 09.02.2016 |  |  |  | NAS0000002167
36 | Back | Vernier | yes |  | Mitutoyo | 1002434 | 07.10.2014 | 07.10.2015 | [5 empty] | Scrap
46 |  | Vernier | yes | CD-12" PSX | Mitutoyo | 67494 | 16.07.2015 | 16.07.2016 |  |  |  | NAS0000001249 | ZAST |  | ok
48 |  | Vernier | yes |  |  | 11210 | 29.08.2009 | 29.02.2009 |  | Obsolete
17 | Back | 3-P testing zig | yes |  |  | 001 | 07.11.13 | 06.11.14 |  | Chandrashekhar Sharma
12 | Back | Current probe | yes | 1146A | Agilent | 03NN 4562Dv |  |  |  | Shweta Aggarwal |  | NAS0000001909 | ZAST |  | ok
32 |  | Current probe | yes | A622 | Tektronix | 03NN 4840Dv |  |  |  | Shweta Aggarwal |  | NAS0000001908 | ZAST |  | ok
49 | Back | Data Logger | yes | RISH-MULTI SI232 | Rishabh | 167594 | [5 empty] | NAS0000001571 | ZAST |  | ok
50 |  | Data Logger | yes | RISH-MULTI SI232 | Rishabh | 167595 | [5 empty] | NAS0000001571 | ZAST |  | ok
51 |  | Data Logger | yes | RISH-MULTI SI232 | Rishabh | 167596 | [5 empty] | NAS0000001571 | ZAST |  | ok
52 |  | Data Logger | yes | RISH-MULTI SI232 | Rishabh | 167597 | [5 empty] | NAS0000001571 | ZAST |  | ok
7 | Back | High AC voltage source | yes | 214A | Agronic | 100802 | 01.10.14 | 01.10.15 |  |  | ok | NAS0000000325 | HDND |  | ok
37 | Back | LED Light Meter | yes | LM-200LED | Amprobe | 15030979 |  |  |  | Shweta Aggarwal |  | NAS0000002624 | HDND |  | ok
42 | Back | Reference Meter | yes | Achook 3080 | Genus
18 | Back | Regulated DC power supply | yes | L6420 | Aplab | 543327 | 01.04.14 | 01.04.15 | PS-10 | Chandrashekhar Sharma | ok | NAS0000001680 |  |  | ok
19 |  | Regulated DC power supply | yes | L3210 | Aplab | 343264 | 07.11.13 | 06.11.14 | PS-5 | Pawan Sharma |  | NAS0000002012 | ZAST |  | ok
23 |  | Regulated DC power supply | yes | L6420 | Aplab | HO11L64200614016 | [5 empty] | NAS0000001680 |  |  | ok
24 |  | Regulated DC power supply | yes | L6420 | Aplab | HO11L64200510010 | 01.04.14 | 01.04.15 | PS-6 |  |  | NAS0000001680 |  |  | ok
28 |  | Regulated DC power supply | yes | LD3205 | Aplab | 4070100 | 07.11.12 | 06.11.14 | PS-9 | Bharti Sharma |  | NAS0000002012 | ZAST |  | ok
3 |  | Regulated DC power supply | yes | L6420 | Aplab | HO11L64200110002 | 01.04.14 | 01.04.15 | PS-7 | Sobhag Prajapat | ok | NAS0000001680 | ZAST |  | ok
8 |  | Regulated DC power supply | yes | L6420 | Aplab | HO11L64200614018 |  |  |  |  | ok | NAS0000001680 |  |  | ok
11 |  | Regulated DC power supply | yes | L6420 | Aplab | HO1164200110003 | 01.04.14 | 01.04.15 | PS-1 | Raghvendra Thakur | ok | NAS0000001680 | ZAST |  | ok
13 |  | Regulated DC power supply | yes | L6420 | Aplab | HO11L64200510008 | 07.11.12 | 06.11.14 | PS-2 | Chandrashekhar Sharma |  | NAS0000001680 | ZAST |  | ok
33 |  | Regulated DC power supply | yes | LD3205 | Aplab | 4070099 | 21.08.2010 | 20.08.2011 | PS-3 |  | Rejected | NAS0000002012 | ZAST |  | ok
34 |  | Regulated DC power supply | yes | L3210 | Aplab | 0444385 | 16.10.2010 | 15.10.2012
35 |  | Regulated DC power supply | yes | L6420 | Aplab | 0543358 | [5 empty] | NAS0000001680 |  |  | ok
41 |  | Regulated DC power supply | yes | L6420 | Aplab | 406058 | 07.11.2012 | 07.11.2014 | PS-4 |  |  | NAS0000001680 |  |  | ok
43 |  | Regulated DC power supply | yes | 62100H-450 | Chroma | 6200ED00114 | 02.11.2015 | 02.11.2016 |  |  |  | NAS0000001501 | ZAST |  | ok
58 |  | Regulated DC power supply | yes | 62150H-1000S | Chroma | 6215EF01266 | 26.03.2016 | 25.03.2017 |  | Rahul Upadhyay |  | NAS0000002702 | HDND |  | ok
53 | Back | Resistive load bank | yes | 100KW | [7 empty] | NAS0000002232 | ZAST |  | ok
29 | Back | Smart tweezer | yes | ST 5L | Analog Equipment | 1302260018 | 27.02.13 | Periodic Calibration not required. |  |  |  | NAS0000001422 | HDND |  | ok
30 | Back | Solar Power Meter | yes | SOLAR-100 | Amprobe | 12070273 |  |  |  | Shweta Aggarwal |  | NAS0000001514 | HDND |  | ok
32 | Back | Temperature Humidity Meter | yes | Fluke 971 | Fluke | 012001009 | 06.08.2016 | 06.08.2017 |  | Shweta Aggarwal |  | NAS0000002626 | HDND | 36000 | ok
33 | Back | Sound Level Meter | yes | SM-10 | Amprobe | 15050861 |  |  |  | Shweta Aggarwal |  | NAS0000002625 | HDND | 8000 | ok
11 | Back | Watt Loss Meter | yes | RK-45 | Gopal Electronics | RK-0103 | 03.04.15 | 03.04.25 |  | Pawan Kumar | New Purchage | NAS0000001829 | ZAST | 11500 | ok
|  | Battery | No | GTT-150, 36P12 | Genus | QLC 018604 |  |  |  | Raghvendra Thakur
|  | Battery | No | C-10, SMF, 100Ah | Genus |  |  |  |  | Raghvendra Thakur
|  | Battery | No | GTT-150, 36P12 | Genus | RKC6L 15TP25459 |  |  |  | Rahul Upadhyay
|  | Battery | No | GTT-150, 36P12 | Genus | RKC6L 15TP25458 |  |  |  | Rahul Upadhyay
|  | Battery | No | GTT-150, 36P12 | Genus | RKC6L 15TP25455 |  |  |  | Rahul Upadhyay
|  | Battery | No | GTT-150, 36P12 | Genus | TLC 013928 |  |  |  | Rahul Upadhyay
|  | Variac | No | 20D-1P | Automatic Electric |  |  |  |  | Rahul Upadhyay |  | NAS0000001504
|  | CRO probe | yes | VP410 | Fluke |  |  |  |  | Shweta Aggarwal
|  | RCL Adapter |  | PM 9542A
|  | probe for LCR | 2 |  |  |  | GP220209DSK0223

## Total
S. No. | Back | Instrument | Calibration required | Model | Make | Sr. No. | Calibration date | Calibration due date | Internal number | Responsible person | Remarks |  |  |  | Verification remarks
2 |  | Wire stripper | no |  |  |  | NA | NA |  | Sobhag Prajapat | Lock damaged
3 |  | Nose plier | no |  |  |  | NA | NA |  | Sobhag Prajapat | ok
4 |  | Probe for MM | no |  |  |  | NA | NA |  | Sobhag Prajapat | Used for Deepesh's MM
5 |  | Comm. Card | no |  |  |  | NA | NA | P6 | Sobhag Prajapat | Not working
12 |  | Wire stripper | no |  |  |  | NA | NA |  | Deepesh Jain | ok
13 |  | Nose plier | no |  |  |  | NA | NA |  | Deepesh Jain | ok
16 |  | Nose plier | no |  |  |  | NA | NA |  | Deepak Agrawal | ok
17 |  | Comm. Card | no |  |  |  | NA | NA | P4 | Deepak Agrawal | ok
35 |  | Wire stripper | no |  |  |  | NA | NA |  | Raghvendra Thakur | ok
36 |  | Nose plier | no |  |  |  | NA | NA |  | Raghvendra Thakur | ok
38 |  | Comm. Card | no |  |  |  | NA | NA | P5 | Raghvendra Thakur | ok
43 |  | Wire stripper | no |  |  |  | NA | NA |  | Pawan Kumar | ok
44 |  | Nose plier | no |  |  |  | NA | NA |  | Pawan Kumar | ok
50 |  | Wire stripper | no |  |  |  | NA | NA |  | Chandrashekhar Sharma
51 |  | Flat plier | no |  |  |  | NA | NA |  | Chandrashekhar Sharma
52 |  | Nose plier | no |  |  |  | NA | NA |  | Chandrashekhar Sharma | ok
53 |  | Comm. Card | no |  |  |  | NA | NA | P-7 | Chandrashekhar Sharma
67 |  | Comm. Card | no |  |  |  | NA | NA | P-0 | Rahul Upadhyay
|  | Multimeter | yes | Fluke 111 | Fluke | 86520018 | 08.04.14 | 08.04.15 | 1 | Sobhag Prajapat | one probe is different | NAS0000001123 | ZAST
6 |  | Temp. meter | no | ST-9283 | Frontier |  |  |  | 4 | Sobhag Prajapat | ok
7 |  | Temp. meter | no | ST-9283 | Frontier |  |  |  | 5 | Sobhag Prajapat | ok
8 |  | Variac | no | 20D-1P | Automatic Electric | 913/D505937/54 | NA | NA | VR-6 | Sobhag Prajapat | ok | NAS0000001504
9 |  | Clamp meter | yes | Fluke 336 | Fluke | 85453257 | 31.03.2012 | 30.03.2014 | 6 | Sobhag Prajapat | missed since 2011 | NAS0000000055 | ok | Scrap
10 |  | Regulated DC power supply | yes | L6420 | Aplab | HO11L64200110002 | 01.04.14 | 01.04.15 | PS-7 | Sobhag Prajapat | ok | NAS0000001680 | ZAST
11 |  | Multimeter | yes | Fluke 115 | Fluke | 11171081 | 06.10.2015 | 06.10.2016 | 7 | Deepesh Jain | back support missing | NAS0000001404 | HDND
14 |  | Variac | no | 20D-1P | Automatic Electric | 913/D505937/52 | NA | NA | VR-3 |  | ok | NAS0000001504
15 |  | Multimeter | yes | Fluke 111 | Fluke | 86520019 | 08.10.14 | 08.10.15 | 2 | Deepak Agrawal | back support missing, black probe is rough and changed | NAS0000001123 | ZAST
18 |  | Clamp meter | yes | Fluke 336 | Fluke | 81554433 | 06.10.2015 | 06.10.2015 | 13 | Deepak Agrawal | selector cover damaged | NAS0000000055 | HDND
19 |  | Variac | no | 20D-1P | Automatic Electric | 913/D505937/51 | NA | NA | VR-10 |  | ok | NAS0000001504
21 |  | LCR meter | yes | PM 6306/071 | Fluke | LR 39486 C | 29.10.2015 | 29.10.2016 |  |  | does not work properly | NAS0000002318 | HDND
22 |  | High AC voltage source | yes | 214A | Agronic | 100802 | 01.10.14 | 01.10.15 |  |  | ok | NAS0000000325
23 |  | Regulated DC power supply | yes | L6420 | Aplab | HO11L64200614018 |  |  |  |  | ok | NAS0000001680
24 |  | Variac | no |  |  |  | NA | NA |  |  | ok
25 |  | Clamp meter | yes | Fluke 336 | Fluke | 11620943 | 06.10.2015 | 06.10.2016 | 11 | Manindera Singh | ok | NAS0000000055 | HDND
26 |  | Oscilloscope | yes | DL 1640 | Yokogawa | 27E530593 | 30.10.2015 | 30.10.2016 |  | Manindera Singh | ok | NAS0000002314 | HDND
27 |  | Multimeter | yes | Fluke 19 | Fluke | 76251147 | 08.10.14 | 08.10.15 | 5 | Manindera Singh | back support missing | NAS0000001123 | ZAST
28 |  | Temp. meter | no |  | Multi Mextech | M1203091 |  |  | 7 | Obsolete
29 |  | Temp. meter | no |  | Multi Mextech | M1203080 |  |  | 8 | Manindera Singh | ok
30 |  | Multimeter | yes | Fluke 115 | Fluke | 18740133 | 20.01.12 | 20.01.13 | 6 | Umesh Likhitkar | ok | NAS0000001123 | ZAST
31 |  | Temp. meter | no |  | Multi Mextech | M1203126 |  |  | 9 | Umesh Likhitkar | ok
32 |  | Temp. meter | no |  | Multi Mextech | M1203147 |  |  | 10 | Umesh Likhitkar | ok
33 |  | Variac | no | 20D-1P | Automatic Electric | 913/D505937/49 | NA | NA | VR-5 | Umesh Likhitkar | ok | NAS0000001504
34 |  | Multimeter | yes | Fluke 115 | Fluke | 11100995 | 06.10.2015 | 06.10.2016 | 3 | Raghvendra Thakur | Red probe damaged | NAS0000001404 | ZAST
37 |  | Variac | no | 20D-1P | Automatic Electric | 913/D505937/53 | NA | NA | VR-7 | Raghvendra Thakur | ok | NAS0000001504
39 |  | Oscilloscope | yes | TPS 2024 | Tektronix | C017750 | 30.10.2015 | 30.10.2016 |  | Raghvendra Thakur | ok | NAS0000002314 | HDND
40 |  | Regulated DC power supply | yes | L6420 | Aplab | HO1164200110003 | 01.04.14 | 01.04.15 | PS-1 | Raghvendra Thakur | ok | NAS0000001680 | ZAST
41 |  | Multimeter | yes | U1242B | Agilent | MY51410016 | 06.10.2015 | 06.10.2016 | 10 | Pawan Kumar | ok | NAS0000002440 | HDND
42 |  | Clamp meter | yes | Fluke 374 | Fluke | 22950197 | 06.10.2015 | 06.10.2016 | 1 | Raghvendra Thakur | ok | NAS0000001471 | HDND
45 |  | Oscilloscope | yes | 190-2014 | Fluke | 23472848 | 07.05.13 |  |  | Pawan Kumar |  | NAS0000001344 | HDND
46 |  | Current probe | yes | 1146A | Agilent | 03NN 4562Dv |  |  |  | Pawan Kumar |  | NAS0000001909 | ZAST
47 |  | Variac | no | 20D-1P | Automatic Electric | 913/D505937/50 | NA | NA | VR-9 |  |  | NAS0000001504
49 |  | Regulated DC power supply | yes | L6420 | Aplab | HO11L64200510008 | 07.11.12 | 06.11.14 | PS-2 | Chandrashekhar Sharma |  | NAS0000001680 | ZAST
54 |  | Multimeter | yes | Fluke 111 | Fluke | 85680168 | 06.03.12 | 06.03.13 | 4 | Chandrashekhar Sharma | ok | NAS0000001123 | ZAST
55 |  | Clamp meter | yes | Fluke 336 | Fluke | 86363528 | 01.03.2012 | 01.03.2013 | 12 | Chandrashekhar Sharma | ok | NAS0000000055 | HDND
56 |  | Oscilloscope | yes | THS720P | Tektronix | B055656 | 29.10.2015 | 29.10.216 |  | Chandrashekhar Sharma | Probe damaged | NAS0000002314 | HDND
57 |  | 3-P testing zig | yes |  |  | 001 | 07.11.13 | 06.11.14 |  | Chandrashekhar Sharma
58 |  | Variac | no | 20D-1P | Automatic Electric | 104/D90849/29 | NA | NA | VR-1 | Chandrashekhar Sharma |  | NAS0000001504
59 |  | Regulated DC power supply | yes | L6420 | Aplab | 543327 | 01.04.14 | 01.04.15 | PS-10 | Chandrashekhar Sharma | ok | NAS0000001680
60 |  | Regulated DC power supply | yes | L3210 | Aplab | 343264 | 07.11.13 | 06.11.14 | PS-5 | Pawan Sharma |  | NAS0000002012 | ZAST
61 |  | Multimeter | yes | Fluke 111 | Fluke | 86150078 | 08.04.14 | 08.04.15 | 9 | Naveen Purohit | ok | NAS0000001123 | ZAST
62 |  | Temp. meter | no | Multi | Mextech | BR 000030966 |  |  | 6 | Naveen Purohit | ok
63 |  | Temp. meter | no | Multi | Mextech | KT 200909700 |  |  |  | Naveen Purohit | NOK
64 |  | Oscilloscope | yes | DL 1620 | Yokogawa | 27E 530592 E | 17.07.09 | 17.01.10 |  | Naveen Purohit | Not working properly | NAS0000002314 | HDND
65 |  | Variac | no |  |  |  | NA | NA | VR-3 | Naveen Purohit
66 |  | Multimeter | yes | 14S | Rishabh | 003425 |  |  | 8 | Rahul Upadhyay | ok | NAS0000001570 | ZAST
68 |  | Regulated DC power supply | yes | L6420 | Aplab | HO11L64200614016 | [5 empty] | NAS0000001680
69 |  | Regulated DC power supply | yes | L6420 | Aplab | HO11L64200510010 | 01.04.14 | 01.04.15 | PS-6 |  |  | NAS0000001680
70 |  | Power analyser | yes | WT 230 | Yokogawa | 27 E 530540 E | 09.02.2015 | 09.02.2016 |  |  |  | NAS0000000244
71 |  | Multimeter | yes |  | Meco | 4C-321-300 |  |  | 11 | Obsolete | Red probe damaged | NAS0000001123 | ZAST
72 |  | Oscilloscope | yes | 54624 A | Agilent | MY40003594 | 28.08.2009 | 28.02.2010 |  | Obsolete | one probe was not damaged | NAS0000002314 | HDND | Scrap
73 |  | Variac | no | 20D-1P | Automatic Electric | 913/D505937/55 | NA | NA | VR-8 |  |  | NAS0000001504
74 |  | Regulated DC power supply | yes | LD3205 | Aplab | 4070100 | 07.11.12 | 06.11.14 | PS-9 |  |  | NAS0000002012 | ZAST
75 |  | Smart tweezer | yes | ST 5L | Analog Equipment | 1302260018 | 27.02.13 | Periodic Calibration not required. |  |  |  | NAS0000001422 | HDND
76 |  | Solar Meter | yes | SOLAR 100 |  | 12070273 | [5 empty] | NAS0000001514 | HDND
77 |  | Temperature sensor | yes | 80T-1R | Fluke | [6 empty] | NAS0000001345 | HDND
78 |  | IR thermometer | yes | 62 Max | Fluke | 22091371 | 06.10.2015 | 06.10.2016 |  | Pawan Kumar |  | NAS0000001345 | HDND
79 |  | Current probe | yes | A622 | Tektronix | 03NN 4840Dv |  |  |  | Pawan Kumar |  | NAS0000001908 | ZAST
80 |  | Insulation tester | yes | 1507 | Fluke | 22450019 | 06.10.2015 | 06.10.2016 |  |  |  | NAS0000001173 | HDND
81 |  | Watt Loss Meter | yes | RK-45 | Gopal Electronics | RK-0103 | 03.04.15 | 03.04.25 |  | Pawan Kumar | New Purchage | NAS0000001829 | ZAST
83 |  | Temp. meter | no | Multi | Mextech | KT201014089 |  |  | 4 |  | NOK
84 |  | Temp. meter | no | Multi | Mextech | KT201014077 | 31.03.12 | 31.03.14 | 1 |  | NOK
85 |  | Temp. meter | no | Multi | Mextech | KT201014099 |  |  | 2 |  | NOK
86 |  | Regulated DC power supply | yes | LD3205 | Aplab | 4070099 | 21.08.2010 | 20.08.2011 | PS-3 |  | Rejected | NAS0000002012 | ZAST
87 |  | Regulated DC power supply | yes | L3210 | Aplab | 0444385 | 16.10.2010 | 15.10.2012
88 |  | Regulated DC power supply | yes | L6420 | Aplab | 0543358 | [5 empty] | NAS0000001680
89 |  | Temperature Humidity Meter | yes | Fluke 971 | Fluke | 12001009 | [5 empty] | NAS0000002626 | HDND
90 |  | Variac | no | 20D-1P | Automatic Electric | 1205/D101498/9 |  |  | V2
94 |  | Vernier | yes |  | Mitutoyo | 1002434 | 07.10.2014 | 07.10.2015
95 |  | Sound Level Meter | yes | SM-10 | Amprobe | 15050861 | [5 empty] | NAS0000002625 | HDND
96 |  | Lux Meter | yes | LM-200 LED | Amprobe | [6 empty] | NAS0000002624 | HDND
97 |  | Multimeter | yes | Fluke i410 | Fluke | 84350240 | 29.03.2007 | 29.09.2007 |  | Pawan Kumar |  | NAS0000001123 | ZAST
98 |  | Clamp meter | yes | Fluke 317 | Fluke | 27370008WS |  |  | 2 | Rahul Upadhyay |  | NAS0000001389 | ZAST
99 |  | Multimeter | yes | Fluke 115 | Fluke | 18740143 | 12.12.2011 | 12.12.2012 | 13 | Syoji Sharma |  | NAS0000001123 | ZAST
100 |  | Regulated DC power supply | yes | L6420 | Aplab | 406058 | 07.11.2012 | 07.11.2014 | PS-4 |  |  | NAS0000001680
101 |  | Reference Meter | yes | Achook 3080 | Genus
102 |  | Regulated DC power supply | yes | 62100H-450 | Chroma | 6200ED00114 | 02.11.2015 | 02.11.2016 |  |  |  | NAS0000001501 | ZAST
103 |  | Power Analyser | yes | WT 333 | Yokogawa | C2RC27021V | 06.04.2015 |  |  |  |  | NAS0000002182 | ZAST
104 |  | Multimeter | yes | Fluke 115 | Fluke | 28780086WS | 24.09.2014 |  |  |  |  | NAS0000001123 | ZAST
105 |  | Multimeter | yes | Fluke 115 | Fluke | 28780090WS | 24.09.2014 |  |  |  |  | NAS0000001123 | ZAST
106 |  | Vernier | yes | CD-12" PSX | Mitutoyo | 67494 | 16.07.2015 | 16.07.2016 |  |  |  | NAS0000001249 | ZAST
107 |  | Clamp meter | yes | Fluke 317 | Fluke | 27370006 | 16.10.2014 |  |  |  |  | NAS0000001389 | ZAST
108 |  | Micrometer | yes | MDC25PJ | Mitutoyo | 45081636 | 20.10.2014 | 20.10.2015 |  |  |  | NAS0000001251
109 |  | Vernier | yes | 500-196 | Mitutoyo | 14539177 | 16.07.2015 | 16.07.2016 |  |  |  | NAS0000001250 | ZAST
110 |  | Vernier | yes |  |  | 11210 | 29.08.2009 | 29.02.2009 |  | Obsolete |  | NAS0000001249 | ZAST
|  | Data Logger | yes | RISH-MULTI SI232 | Rishabh | 167594 | [5 empty] | NAS0000001571 | ZAST
|  | Data Logger | yes | RISH-MULTI SI232 | Rishabh | 167595 | [5 empty] | NAS0000001571 | ZAST
|  | Data Logger | yes | RISH-MULTI SI232 | Rishabh | 167596 | [5 empty] | NAS0000001571 | ZAST
|  | Data Logger | yes | RISH-MULTI SI232 | Rishabh | 167597 | [5 empty] | NAS0000001571 | ZAST
|  | Resistive load bank | yes | 100KW | [7 empty] | NAS0000002232 | ZAST
|  | Microohm meter | yes | LR2045-S | Motwane | A0 1800C14 | [5 empty] | NAS0000002183
|  | Multimeter | yes | RISH Multi 14S | Rishabh | 3138 | [5 empty] | NAS0000001570 | ZAST
|  | Multimeter | yes | RISH Multi 14S | Rishabh | 3142 | [5 empty] | NAS0000001570 | ZAST
|  | Multimeter | yes | RISH Multi 14S | Rishabh | 3150 | [5 empty] | NAS0000001570 | ZAST
|  | Multimeter | yes | RISH Multi 14S | Rishabh | 3158 | [5 empty] | NAS0000001570 | ZAST
|  | Regulated DC power supply | yes | 62150H-1000S | Chroma | 6215EF01266 | 26.03.2016 | 25.03.2017 |  | Rahul Upadhyay |  | NAS0000002702 | HDND
|  | CRO Probe | no | TPP0201 | Taktronics |  |  |  |  | Syoji Sharma | ok

## Sheet1
LCR meter | yes | PM 6306/071 | Fluke | LR 39486 C | NAS0000002318
Clamp meter | yes | Fluke 336 | Fluke | 11620943 | NAS0000000055
Oscilloscope | yes | DL 1640 | Yokogawa | 27E530593 | NAS0000002314
Oscilloscope | yes | THS720P | Tektronix | B055656 | NAS0000002314
Multimeter | yes | Fluke 115 | Fluke | 11100995 | NAS0000001404
Multimeter | yes | U1242B | Agilent | MY51410016 | NAS0000002440
IR thermometer | yes | 62 Max | Fluke | 22091371 | NAS0000001345
Insulation tester | yes | 1507 | Fluke | 22450019 | NAS0000001173
Micrometer | yes | MDC25PJ | Mitutoyo | 45081636 | NAS0000001251
Vernier | yes | 500-196 | Mitutoyo | 14539177 | NAS0000001250
Microohm meter | yes | LR2045-S | Motwane | A0 1800C14 | NAS0000002183
NAS0000000055 | Digital Clamp Meter Model:Fluke-336 | 2000 | HDND | NOS | 1
NAS0000001173 | IR Tester Model Fluke 1507 (50-1000V) | 2000 | HDND | NOS | 1
NAS0000001250 | Vernier Caliper 0-150mm Digital | 2000 | ZAST | NOS | 1
NAS0000001251 | Micro Meter 0-25mm | 2000 | HDND | NOS | 1
NAS0000001344 | Handheld CRO Fluke 190-204 (4 Channel) | 2000 | HDND | NOS | 1
NAS0000001345 | Fluke 62 max Infrared Thermometer | 2000 | HDND | NOS | 1
NAS0000001404 | DIGITAL MULTIMETER FLUKE-115 | 2000 | HDND | NOS | 2
NAS0000002182 | Power Analyzer YOKOGAWA WT333 | 2000 | HDND | NOS | 1
NAS0000002183 | Micro Ohm Meter Motwane LR-2045-S | 2000 | HDND | NOS | 1
NAS0000002314 | Digital Storage Oscilloscope | 2000 | HDND | NOS | 2
NAS0000002318 | Digital LCR Meter with Cable | 2000 | HDND | NOS | 1
NAS0000002440 | Digital Multimeter - Agilent (U21242B) | 2000 | HDND | NOS | 1
NAS0000001471 | Digital Clamp Meter, FLUKE 374 | 2000 | HDND | NOS | 1